## Annex 7 - Mark III BOQ
LOT 7: REHABILATATION OF MARK III INDIAN HAND PUMPS IN DAMBOA
Item No | Description of Works | Specification | Unit | Quantity | Unit Price (NGN) | Total Price (NGN)
1 | Site mobilization and demobilization | Mobilization of tools, equipment, and personnel | LS | 1
2 | Dismantling of existing hand pump | Careful removal of damaged Mark III components | No. | 12
3 | Borehole flushing and development | Flushing until water is clear and silt-free | No. | 12
4 | Supply and installation of Mark III spare parts | Pump head, rods, riser pipes, cylinder, seals as required | Set | 12
5 | Repair/construction of concrete apron | Barrier-free concrete apron with drainage channel | No. | 12
6 | Construction of soakaway pit | Standard soak pit construction | No. | 12
7 | Water quality testing | Basic physical and bacteriological tests | No. | 12
8 | Disinfection of borehole | Shock chlorination after rehabilitation | No. | 12
9 | Testing and commissioning | Test pumping and functional testing | No. | 12
10 | Community training and handover | Training of caretaker and formal handover | No. | 12
TOTAL