## MATERNITY
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE (N) | AMOUNT (N)
1 | SUBSTRUCTURE
A | Demolution: Allow for the demolution of existing building and take the debris away from site |  | LS
B | Excavating trenches including backfilling: Width 700mm and depth not exceeding 2m | 71 | m3 |  | 0
C | Anti-termite | 68 | m2 |  | 0
| Insitu Concrete |  |  |  | 0
D | Blinding at Foundation Bed: 50mm thickness, plain insitu vibrated Grade 15 concrete (mix ratio1:2:4) | 4 | m3 |  | 0
0
E | Foundation (Plinths and Columns Bases): Reinforced Insitu Concrete Vibrated Grade 20, 700mmx250mm, mix ratio 1:1.5:3 | 11 | m3 |  | 0
F | Columns at the foundation: Reinforced Insitu Concrete Vibrated Grade 20, Mix Ratio 1:1.5:3 | 2 | m3 |  | 0
0
G | Reinforced Insitu Concrete Ground Beams Vibrated Grade 20, Mix Ratio 1:1.5:3 | 3 | m3 |  | 0
H | Insitu Oversite Concrete Vibrated Grade 20, Mix Ratio 1:1.5:3 (5mm wire mesh inclusive) | 23 | m3 |  | 0
0
I | Plinth 450mmX225mmX225mm Block Walls filled with Concrete (Grade 15, Mix Ratio 1:2:4) | 150 | m2 |  | 0
Reinforcement for Insitu Concrete
H | High Tensile Steel Reinforcement to BS 4449, 12mm diameter (links/stirups inclusive) | 516 | kg |  | 0
I | Laterite filling 600mm depth | 110 | m3 |  | 0
0
J | Levelling and compaction using manual rammer | 155 | m2 |  | 0
K | Supply and place in position DPM | 155 | m2 |  | 0
| SUBSTRUCTURE TO SUMMARY |  |  |  | 0
2 | SUPER STRUCTURE
Blocks work
A | 450mmx225mmx225mm Hollow Blocks Walls | 297 | m2 |  | 0
0
B | 450mmx225x225mm hollow block work in parapet walls | 35 | m2 |  | 0
| Insitu Concrete |  |  |  | 0
C | Reinforced Insitu Concrete Columns Vibrated, Grade 25, Mix Ratio 1:1:2 | 4 | m3 |  | 0
0
D | Reinforced Insitu Concrete Lintels Vibrated, Grade 25, Mix Ratio 1:1:2 | 5 | m3 |  | 0
E | Reinforced Insitu Concrete Roof Beams vibrated, Grade 25, Mix Ratio 1:1:2 | 3 | m3 |  | 0
Reinforcement for Insitu Concrete
| High tensile Bars to BS 4449 |  |  |  | 0
F | 12mm Diameter Bars (stirups/links inclusive) | 1617 | kg |  | 0
Formwork
G | 300mmx 3000mm flanks sawn for lintel, column,slab formwork and overhead coarse | 209 | m |  | 0
| SUPER STRUCTURE TO SUMMARY |  |  |  | 0
3 | ROOF WORK
Sawn and treated hard wood for the roof work
A | 150mm Tie beam @ 1200c/c | 169 | m |  | 0
0
B | 150mm King post @ 1200c/c | 25 | m |  | 0
0
C | 100mm strut @ 1200c/c | 190 | m |  | 0
0
D | 100mm Rafter @ 1200c/c | 255 | m |  | 0
0
E | 75mm Purlin @ 600c/c | 610 | m |  | 0
0
F | 300mm Facia board | 35 | m |  | 0
0
G | 600x600mm suspended ceiling | 130 | m2 |  | 0
0
H | 0.5mm Aluminium Roofing sheet, ridge cap, flush and eave angle | 310 | m2 |  | 0
0
| ROOF WORK TO SUMMERY |  |  |  | 0
4 | DOORS AND WINDOWS
4.1 | DOORS
Supply and fix to position locally fabricated black steel door
A | 1200mm double swing steel door | 2 | no. |  | 0
B | 1200mm steel door | 2 | no. |  | 0
0
C | 900mm steel door | 5 | no. |  | 0
0
D | 750mm steel door | 4 | no. |  | 0
| SLIDING WINDOW |  |  |  | 0
4.2 | Supply and fix to position tower aluminium sliding window complete with net |  |  |  | 0
0
A | 1200mmX1200mm | 12 | no. |  | 0
0
B | 600mmX600mm | 5 | no. |  | 0
| Pipe Burglary |  |  |  | 0
4.3 | Fabrication and place in position 25mm square pipe burglary
0
C | 1200mmX1200mm | 12 | no. |  | 0
0
D | 600mmX600mm | 5 | no. |  | 0
0
4.4 | Saw and place in position blue window blind
0
E | 1500mmX1500mm | 12 | no. |  | 0
| DOOR, WINDOW, BURGLARY AND WINDOW BLIND TO THE SUMMARY |  |  |  | 0
5 | MECHANICAL SERVICES
5.1 | WATER
A. | Using 25mmdia presure pipe to include all the necessary fitting for the water supply within | 85 | m |  | 0
0
B | Provision of wash hand basin to the offices | 11 | no. |  | 0
0
C | Provision of taps/showers | 5 | no |  | 0
0
| DRAINAGE/ WASTE WATER |  |  |  | 0
D | Using 100mmdia. pipes for WC and waste water from both the toilets and the rooms | 90 | m |  | 0
0
E | Twyford ceramic wc | 5 | no. |  | 0
0
F | 150mmdia. Aluminium floor waste net | 11 | no. |  | 0
0
| WATER |  |  |  | 0
5.2 | ELECTRICAL
Using conduit and recommended quality wire (2.5mm and 1.5mm for power and light respectively) by the supervising officer supply electricity to the building
A | 20mmdia pipe | 345 | m |  | 0
0
B | 2.5mm wire for power outlets | 270 | m |  | 0
0
C | 1.5mm wire for light outlets | 380 | m |  | 0
0
D | Complete 12watt POP bulb fittings | 30 | no. |  | 0
0
E | Cast bucket security light | 6 | no. |  | 0
0
F | 1 gang SVL Switch and 15ams socket | 28 | no. |  | 0
0
G | 3-face metallic distribution board (A & B) | 1 | no. |  | 0
0
H | Supply and fix ORP ceiling Fan | 11 | no. |  | 0
| ELECTRICAL |  |  |  | 0
WATER
| MECHANICAL SERVICES TO SUMMARY |  |  |  | 0
6 | FINISHING WORK
6.1 | PLASTEING/RENDERING
A | 20mm 1:4 cement mortar Plastering | 308 | m2 |  | 0
0
B | 25mm 1:4 Cement Mortar Rendering | 349 | m2 |  | 0
0
C | Ditto-in parapect | 63 | m2 |  | 0
| PLASTEING/RENDERING |  |  |  | 0
6.2 | PAINTING AND DECORATION
| Prepare and apply 2 coart of gloss and emulsion paint were applicable |  |  |  | 0
D | Emulsion paint to the plastered wall | 308 | m2 |  | 0
0
E | Emulsion Paint to the Rendered wall | 349 | m2 |  | 0
0
F | Ditto-in Parapect | 63 | m2 |  | 0
0
G | Apply gloss to the plasterd wall from ceiling to floor | 308 | m2 |  | 0
H | Apply gloss paint to metal work | 30 | m2 |  | 0
I | Allow fire the Branding of the building using gloss paint |  | LS
| PAINTING AND DECORATION |  |  |  | 0
6.3 | TILLING WORK
Prepare the floor and the wall to receive vetrified tiles with the necessary backing and finishing
A | 40mmX400 floor tiles | 131 | m2 |  | 0
0
B | 300mmX300mm toilet floor tiles | 23 | m2 |  | 0
0
B | 25mm cement mortar screed to support the tiles | 131 | m2 |  | 0
0
C | 25mm cement mortar screed to support toilet floor tiles | 23 | m2 |  | 0
0
D | 250mmX400mm toilet wall tiles 2100mm High | 78 | m2 |  | 0
0
E | 400mmx250mm wall tiles for wash hand basin area 1m2 | 7 | m2 |  | 0
0
F | Cement butter to support wall tiles | 78 | m2 |  | 0
0
G | Cement butter to support basin area | 7 | m2 |  | 0
| TILLING WORK |  |  |  | 0
6.4 | TERRAZZO FLOOR
A | 25mm with 900mmX900mm partition, well finished washing machine | 46 | m2 |  | 0
0
B | 25mm with 900mmX900mm parition at the backyard | 25 | m2 |  | 0
| TERRAZZO |  |  |  | 0
| TILLING |  |  |  | 0
| PAINTING |  |  |  | 0
| PLASTER |  |  |  | 0
| FINISHING WORK TO SUMMARY |  |  |  | 0
7 | EXTERNAL WORK
A | Excavate and build 3 compartiment (5000mmX1500mmX2000mmh) combined soakaway and septic tanks using 225mm hollow blocks filled with concrete and wrap the external walls of soakaway pits with mesh, fill the exterior trench around the soakaway pits with gravel 15-25mm to 1.65mm deep and 0.5m width, cover the top of the gravel with sand to a depth of 50mm, place shadow net on the sand and cover it with laterite | 2 | no. |  | 0
| RC concrete 1:1.5:3 for slabs,beams and columns | 7 | m3 |  | 0
EXCAVATION TO SUMMARY
SUMMARY
| SUB STRUCTURE WORK |  |  |  | 0
| SUPER STRUCTURE WORK |  |  |  | 0
| ROOF WORK |  |  |  | 0
| DOORS AND WINDOWS |  |  |  | 0
| MECHANICAL SERVICES |  |  |  | 0
| FINISHING AND DECORATION |  |  |  | 0
| EXTERNAL WORK |  |  |  | 0
| COST FOR MATERNITY EXTENSION WORK |  |  |  | 0

## WALL FENCE
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE (N) | AMOUNT (N)
A | Allow for the demolution of existing fence and take the debris away from site |  | LS
0
B | Trench excavation not exceeding 1m dept | 45 | m3 |  | 0
0
C | Concrete blinding for foundation base grade 15, Mix Ratio 1:2:4 | 45 | m3 |  | 0
D | Concrete Foundation Base: Vibrated Concrete, Grade 20, Mix Ratio 1:1.5:3 | 6 | m3 |  | 0
0
E | 450mmX225mmX225mm hollow block wall 2m high | 211 | m2 |  | 0
0
F | 100mm R.C Capping, Grade 25, Mix Ratio 1:1:2 | 4 | m3 |  | 0
0
G | Well finished tyrolean finishing to the fence | 379 | m2 |  | 0
0
H | Prepare and apply emulsion paint | 397 | m2 |  | 0
0
J | 1500x2100 Entrance Door | 1 | no.
0
K | Supply and fix concertina razor barbed wire | 60 | m |  | 0
0
L | Remove and relocate the Exist Gate | 1 | no. |  | 0
0
M | Grade 25, 1:1:2 RC Columns and Beam 230x300mm for placing the gate in position | 1 | m3 |  | 0
0
N | 300mm formwork | 40 | m |  | 0
0
| TOTAL COST OF WALL FENCE |  |  |  | 0

## DRAINAGE
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE (N) | AMOUNT (N)
A | Allow for the demolution of partial trench and take the debris away from site |  | LS
0
B | Trench ecavation not exceeding 1m depth | 5 | m |  | 0
0
C | Grade 20, Mix Ratio 1:4:6 Concrete Footing | 1 | m3
0
D | 150mmX225mmX450mm hollow block wall | 15 | m2 |  | 0
0
E | 100mm conc capping | 1 | m3 |  | 0
0
F | formwork | 30 | m |  | 0
0
G | 25mm cem mortar plaster | 15 | m2 |  | 0
0
H | 150mm RC slab | 30 | m |  | 0
| COST OF DRAINAGE WORK |  |  |  | 0

## LAB
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE (N) | AMOUNT (N)
A | Allow for the demolution of existing wall and take the debris away from site |  | LS
B | Block work | 15 | m2
C | 600mmX600mm suspended ceiling | 20 | m2 |  | 0
D | 40mmX400mm floor tiles | 20 | m2 |  | 0
0
E | 25mmX499mm wall tiles 2.1m high | 34 | m2 |  | 0
0
F | 900mm steel door | 1 | no. |  | 0
0
F | 2 coats of emulsion paint | 18 | m2 |  | 0
| COST FOR LAB. EXPANSION |  |  |  | 0

## PHARMACY
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE (N) | AMOUNT (N)
A | Remove and make good the wall between lab. And Injection room |  | LS
B | 225mmX225mmX450mm hollow block wall | 30 | m2 |  | 0
C | Roof extension using same material | 18 | m2 |  | 0
D | Suspended ceiling | 34 | m2 |  | 0
0
E | Electric wiring to include 1no ceiling fan |  | LS
0
F | 25mm plaster/rendering to the new wall and the affected area | 72 | m2 |  | 0
0
G | 1200mmX1200mm sliding window | 1 | no. |  | 0
0
H | Emulsion paint | 72 | m2 |  | 0
0
J | 40mmX400mm floor tiles | 20 | m2 |  | 0
K | Allow for the position adjustment of the Triage |  | LS
| TOTAL COST |  |  |  | 0

## SUMMARY
SUMMARY
NO. | UNITS | AMOUNT (N)
1 | COST FOR MATERNITY EXTENSION WORK | 0
2 | COST OF WALL FENCE | 0
3 | PHARMACY EXTENSION WORK | 0
4 | LAB. EXPANSION | 0
5 | DRAINAGE WORK | 0
| GRAND COST OF PROJECT | 0