## Sheet1
BoQ for Construction of Pharmacy At Kubwa for MSF Waca Abuja.
work partition |  | ITEM | UNIT | QTY | Unit Price (Naira) | TOTAL PRICE (Naira)
Preliminaries | 1.1 | Initial mobilization and final demobilization of equipment, labor and materials for contractors base office to site | Ls | 1
| 1.2 | Post construction works and clean up. | Ls | 1
|  | Carried to summary 1 |  |  |  | 0
Superstructure: | 2.0 | STEEL FRAME WORK WITH RAFTER,
| 2.1 | H-shaped cross-section 100x200x5mm Cut to 19 pcs of 6m, for frame structure | m | 336
| 2.2 | H-shape cross-section 100x50x5mm for stairs and top beams | m | 137.6
| 2.3 | 3mm chacker plate | m2 | 57
| 2.4 | 200x50x5mm for support to the existing wall from the top | m | 12
| 2.5 | Expension Bolt made of lead drilled to floor 16diameter. | pcs | 19
| 2.6 | Base Plate 200x200x12mm thick, | pcs | 19
| 2.7 | Angle cleat for base of pillars | pcs | 38
| 2.8 | Apply 1 coat of anti-rost and 1 coat of red oxide paint for all steel works | liters | 604.7
| 2.9 | Top plate for rafter 100x200x8mm | pcs | 19
| 2.1 | LABOUR | L/Sum | 1
|  | Carried to summary 2 |  |  |  | 0
| 3.0 | Wall MBF Marin board Both External and Internal 2400x1200x50mm:
| 3.1 | Walls, 2400x1200x50mm thick mbf both internal and external for office, secured drugs store, archive, toilet, cool chain, quarantine and expired drugs. | m2 | 378
| 3.2 | Expanded Polystyrene 2 inch thick to be install in between the marine wall, | m2 | 732
| 3.3 | Fisoher Gum | Piece | 30
| 3.4 | Timber Treated sawn hardwood (50X75mm) for wall frame w @ 600x600mm | piece
| 3.5 | 1.2x2.4 white composite Aluminium pannel to be install with srew and covered wirth aluminium batten, remove the film protector after install | m2 | 1110
| 3.6 | LABOUR | L/Sum | 1
|  | Carried to summary 3 |  |  |  | 0
| 4.0 | suspended ceiling, security room and control room roof
| 4.1 | T Grid Suspended ceiling including accessories to be install all over the pharmacy, the ground floor office, secured drugs storage, verandah, toilet and archive. | m2 | 1046
| 4.2 | 225mm hallow sandcrete block 2.5x3x3m hight | m2 | 22
| 4.3 | 225mm hallow sandcrete block 1.2x1.2x3m hight for control room | m2 | 10.8
| 4.4 | Rendered cement and sand (1:6) 15mm thick, surface of existing walls, | m2 | 51.5
| 4.5 | screeding | m2 | 51.5
| 4.6 | Paint, apply two coat of satin paint internally, | m2 | 51.5
| 4.7 | 150mm x 50mm Well sawn treated tie beam w/ 1.2 meter spacing. 3m length | m | 15
| 4.8 | reinforce concrete columns for security and control room 0.225x0.225mmx3m hight including concrete floor excavation. | m3 | 0.8
|  | Nails 3'' and 2'' | kg | 5
|  | Plain PVC ceiling | m2 | 9
|  | 50x100mm well sawn treated for noggin | m | 36
|  | 0.35 long span aluminium zink | m2 | 11.88
| 5.1 | labour | L/Sum | 1
| 5.2 | Carried to summary 4 |  |  |  | 0
| 6.4 | DOORS AND WINDOWS SCHEDULES
| 6.5 | 0.900mx2.1m American panel complete with accessories for office, archive, cool chain, quarantine, expired drugs and logistics both office and exit | nr | 8
|  | american steel doors for toilet 0.750m for toilet and secured drugs storage. | nr | 2
|  | create an opening size 0f .900x2.1m hight and install an exit doorbeside toilet | nr | 1
|  | slidding aluminium windows for securiry office 1mx1m for security and logistic | nr | 4
| 7.1 | 3x1m aluminium sliding windows | nr | 4
| 7.2 | Accessories | L/Sum | 1
| 7.3 | LABOUR | L/Sum | 1
| 7.4 | Carried to summary 5 |  |  |  | 0
| 8.6 | STAIRES including Landing.
| 8.7 | Rolled steel with H-shaped cross-section.100x200x5mm, 11.21m length | m | 108
| 8.8 | Rolled steel with H-shaped cross-section.100x50x5mm, | m | 24
| 8.9 | Checker sheet, 3mm thick black iron sheet | m2 | 5
|  | Angle iron 2x2x3'm | piece | 12
|  | Base Plate 25x25x12mm thick, | piece | 6
|  | Expension Bolt made of lead drilled to floor 16diameter. | piece | 24
| 9.1 | Square pipe 2x2'' for Railling | m | 20
| 9.2 | Apply 1 coat of anti-rost & 1 coat of red oxide paint | liters | 20
| 9.3 | LABOUR | L/Sum | 1
| 9.4 | Carried to summary 6 |  |  |  | 0
| 9.6 | TOILET
| 9.7 | 4’’ pvc pipe | pcs | 3
| 9.8 | Drilling for plumbing work on the existing floor | L/Sum | 1
| 9.9 | screeding | m2 | 4.5
| 9.1 | Rendered cement and sand (1:6) 15mm thick, surface of existing walls, | m2 | 4.5
| 9.11 | Water Closet and assessories | Piece | 1
| 9.12 | Wash Hand Basine assessories | Piece | 1
| 9.13 | Shower stand and presure cable assessories | Piece | 1
| 9.14 | Paint, apply two coat of satin paint internally, | m2 | 4.5
| 9.15 | 1/2 tap of water tee | pcs | 2
| 9.16 | ½’’ pvc pipe | Piece | 2
| 9.17 | ½’’ pvc elbow | Piece
|  | supply and fix 2'' dia PVC waste pipe | Piece | 4
|  | supply and fix 1/2 stop cock | Piece | 6
|  | Elbow Reducer, 3 1/4" - 1/2" | Piece | 1
| 10.1 | Pvc gum | piece | 4
| 10.2 | GI tap | piece | 1
| 10.3 | LABOUR | L/Sum | 1
| 10.4 | Carried to summary 7 |  | 1 |  | 0
| 10.6 | Concrete work, reinforce concrete 1:2:4-20mm agrregate for generator and diesel slab |  | 1.53
|  | Excavation or cut away 150mm concrete floor and cast in concrete after pipping work | m3 | 1.53
|  | Excavation or cut away 150mm concrete floor and cast in concrete after pipping work | m3 | 68
|  | 2'' pipe burried to put armored cable from gen to control room | m | 1.3
|  | reinforce concrete using BRC mesh 1:2:4 for 2 diesel tank slab 1.2x1.2mx0.230thick | m3 | 24
|  | 2'' connector | piece | 1.66
|  | reinforce concrete using BRC mesh 1:2:4 for 2 generator slab 3x1.2mx0.230m thick and 2 diesel tank slab 1.2x1.2mx0.230thick | m3 | 1
|  | LABOUR | L/Sum
|  | Carried to summary 8 |  |  |  | 0
| 1 | SUMMARY 1 |  |  |  | 0
| 2 | SUMMARY 2 |  |  |  | 0
| 3 | SUMMARY 3 |  |  |  | 0
| 4 | SUMMARY 4 |  |  |  | 0
| 5 | SUMMARY 5 |  |  |  | 0
| 6 | SUMMARY 6 |  |  |  | 0
| 7 | SUMMARY 7 |  |  |  | 0
| 8 | SUMMARY 8 |  |  |  | 0
|  | TOTAL COST FOR CONSTRUCTION OF PHARMACY |  |  |  | 0